| Employee Name or Team: |  |
| --- | --- |
| Job Title: |  |
| Service: |  |
| Assessing Manager’s Name: |  |
| Assessing Manager’s Job Title: |  |
| Date Assessment Completed: |  |

| Risk Definitions | Assessment |
| --- | --- |
| L | Low : minor injuries requiring first aid – for example, grazes or minor cuts |
| M | Medium: an injury requiring further medical assistance – for example cuts needing stiches or broken bones |
| H | High: major injuries, such as paralysis, or death |
| N/A | Not applicable to current job |
| Residual Risk | Residual risk is the level of risk that remains after suitable control measures are introduced |

Assess the risk of each activity between Low, Medium or High.  Following introduction of risk control measures reassess for residual risk.

| Activity | Person at risk | Significant Hazards | Risk L M H |  |  | Risk Control Measures | Residual Risk L M H |  |  | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electrical appliances both fixed and portable. Contact with live parts, faults which could cause fires, fault causing ignition of flammable substances | Staff Contractors Visitors and members of the public | Electric shock, burns, smoke inhalation, fatal shocks |  |  |  | - Electrical Safety Equipment’s Certificates and fixed equipment are retained on site following test and inspection of electrical systems - Electrical apparatus, both portable and fixed, is checked and inspected periodically in accordance with organisational policy by a competent and certified electrical engineer - All work on live electrical equipment, is carried out by approved contractors - An inventory of all portable electrical appliances such as drills, kettles, heaters, and office equipment provided by the organisation, is maintained - All portable appliances subject to inspection and test are marked (PAT sticker) as to their current status e.g. date of next test - Members of staff not permitted to use their own appliances which may not be PAT tested - Portable electrical appliances to be visually inspected for signs of damage or fault as part of their safety checks - All users are to report electrical equipment which is poorly maintained immediately - Procedures in place to remove faulty electrical equipment immediately - Recommended electrical sockets in public areas protected by a RCD and additionally with child proof covers - A full inspection and test certificate must be available for the complete installation. This is renewed every five years - Use of equipment restricted to staff and contractors only with no access for visitors or members of the public - All users appropriately trained and familiar with equipment – inducted - instructed |  |  |  |  |
| Electrical Service Cupboards. Contact with live parts, faults which could cause fires, fault causing ignition of flammable substances | As above | Electric shock, burns, smoke inhalation, fatal shocks |  |  |  | - Service cupboards not to be used for general storage - Service cupboards are kept locked when not in use - Service cupboards display appropriate safety notices, i.e. electrical main intake - Clear access to be maintained to all service cupboards at all times - Access controlled keys to be booked in and out through Facilities/Stewards as required |  |  |  |  |
| Portable Electrical Equipment Inspection and Testing of portable appliances. Electrical defects not being identified | As above | Electric shock, burns, smoke inhalation, fatal shocks |  |  |  | - Use of appliances rated to determine period of testing and inspection - PAT testing - See relevant H&S Instruction - Staff trained to carry out visual check - Staff trained to carry out formal visual inspection - Electrical appliances included in periodic safety inspections (where carried out) - Access restricted to staff and trained contractors no access to visitors or members of the public |  |  |  |  |
| Any other comments |  |  |  |  |  |  |  |  |  |  |

| #### Sign and file for reference |  |  |  |
| --- | --- | --- | --- |
| #### Employee’s Signature: |  | #### Date: |  |
| #### Line Manager’s Signature: |  | #### Date: |  |

Date for revision: Annually or if any significant changes occur - Ensure review date recorded	    	                                             December 2018